## Instructions
FEASIBILITY STUDY COST ESTIMATE GUIDE INSTRUCTIONS
The purpose of a cost estimate developed at the feasibility study phase of a project is to provide the information needed to make an informed decision regarding the alternatives project scopes considered by the study. The cost estimate should highlight the difference between the options in a way that can clearly be understood. The Feasibility Study Cost Estimate Guide and the below information are designed to assist LEAs in the development of an appropriate method of evaluation. Each section in this guide is required and the organization structure of this guide should be followed, but detailed formatting can be altered as needed to fit the project and options in consideration.
The following is a description of each section required in the feasibility study cost estimate.
I. TOTAL COST OF CONSTRUCTION
This section should include all labor and materials to be procured via the construction contract and should represent the total cost of construction broken down into the two categories provided:
A. Building and Site Construction Cost: This section should include the total cost of each option at the current dollar value. Three sections are included in this portion to clearly indicate the difference between the selected options for comparison.
1. Building Construction Costs: This section should include separate values for each type of building construction and demolition needed to address the conditions of each option. Provide separate line items as needed to properly distinguish between different scopes of work included in each cost per square foot provided. For example, if one option uses an addition to the existing building to meet the educational specification requirements, while a separate option replaces the entire building, the cost per square foot of each type of construction would be different. As a result, these two items would be listed as separate line items to highlight the difference in cost per square foot.
2. Site Construction Costs: This section should include both a lump sum site cost for each item, as well as separate line items for work required and not required for each option. For example, if a new construction requires a large retaining wall to create a buildable area for a replacement project, the cost of that retaining wall should be included as a separate line item.
3. Exceptions Construction Cost: In this section include additional construction costs related to the unique aspect of each option. This should allow a clear understanding of the potential impact costs of selecting a certain option that may exceed the typical construction costs. For example, if a replacement project requires selective demolition of the existing school in order to provide the required site space for the replacement, this is a unique condition of the site that would require multiple mobilizations and generate atypically high phasing costs.
B. Additional Construction Costs: This section should include costs that are included in the construction budget that are outside the direct estimate of labor and materials, including fees, contingencies and escalation. In some cases the project will carry additional costs as part of the construction that are not part of the contract for construction but are still a unique project cost related to one or multiple options. For example, if portables are required but the LEA will not procure those portables through the construct for construction, a line item here could be carried to ensure that cost of the portables is captured in the total.
II. TOTAL PROJECT COSTS
A. Costs Outside of Costs of Construction: This section should include all items outside the cost of construction that will be required for the project to succeed. These include all soft costs for the project, costs related to site selection and procurement, swing space and other items that would result from the options being studied. This section is intended to create a comprehensive look at all project related expenses and represents the LEAs total anticipated budget for the project.
III. ADDITIONAL INFORMATION
This section should include all other information the Owner and the design team feel is pertinent to the decision making process for the selection of a preferred option from the feasibility study. It should contain the below two sections.
A. Estimated Project Life Cycle Costs: This section should estimate the annual project expenditures for the project over the first 30 years of the life of the facility. There are three required fields in the section. However, the LEA should use this portion of the form to fully investigate and inform themselves of the differences between the options during a 30 year life cycle of the building.
1. Estimated Annual Energy Cost: This should be determined using a Simple Box Model to estimate the energy usage for each option using accurate representations of project masing, location, percentage of fenestration, anticipated R-values and the recommended HVAC systems.
2. & 3. Estimated Annual Maintenance Costs: This should represent the LEAs estimate on the annual maintenance costs based on has been spent in the past on similar projects. In this section, all unique or exceptional cases for each option should be added as separate line items.
4. & 5. Estimated One Time Operations Costs: This section should represent one time operation costs such as equipment replacement or energy efficiency improvements that may be required at a later date and will be unique depending on options and systems selected for each option.
B. Additional Project Information: This section should include any additional information pertinent to the decision making process for the selection of the preferred option.

## Guide
FEASIBILITY STUDY COST ESTIMATE GUIDE
The purpose of this file is to provide general guidance for the preparation of a Cost Estimate (which is to be submitted with a Feasibility Study) that allows for detailed comparison of the impacts of the options being considered. All items listed here are for the purposes of providing an example and the format and existing rows may be altered, removed, or added to in order to provide the most pertinent and useful information for analysis of the specific project at hand. IAC staff do not require that this form be used for the Cost Estimate that is submitted with a Feasibility Study.
|  |  |  | OPTION 1 |  |  | OPTION 2 |  |  | OPTION 3
|  |  |  | Renewal |  |  | Renovation/Addition |  |  | Replacement
|  |  |  | GSF/QTY | $/SF or % | TOTAL | GSF/QTY | $/SF or % | TOTAL | GSF/QTY | $/SF or % | TOTAL
I. TOTAL COST OF CONSTRUCTION
| A. | BUILDING AND SITE CONSTRUCTION COSTS
|  | 1. | BUILDING CONSTRUCTION COSTS
|  |  | New Construction/New Building | 0 | 100 | 0 | 0 | 100 | 0 | 10 | 100 | 1000
|  |  | New Construction/Addition | 0 | 100 | 0 | 10 | 100 | 1000 | 0 | 100 | 0
|  |  | Renovation Type 1 | 10 | 100 | 1000 | 10 | 100 | 1000 | 0 | 100 | 0
|  |  | Renovation Type 2 | 10 | 100 | 1000 | 10 | 100 | 1000 | 0 | 100 | 0
|  |  | Demolition | 0 | 100 | 0 | 0 | 100 | 0 | 10 | 100 | 1000
|  |  | Selective Demolition | 10 | 100 | 1000 | 10 | 100 | 1000 | 0 | 100 | 0
|  |  | Hazardous Material Abatement | 10 | 100 | 1000 | 10 | 100 | 1000 | 10 | 100 | 1000
|  |  | Other | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL BUILDING ONLY COSTS |  |  | 4000 |  |  | 5000 |  |  | 3000
|  | 2. | SITE CONSTRUCTION COSTS
|  |  | Sitework, Typical | 1 | 500 | 500 | 1 | 500 | 500 | 1 | 500 | 500
|  |  | Sitework, Exceptional Conditions (lf) | 100 | 50 | 5000 | 100 | 50 | 5000 | 100 | 50 | 5000
|  |  | Sitework, Exceptional Conditions (cy) | 100 | 5 | 500 | 100 | 50 | 5000 | 100 | 5 | 500
|  |  | Other | 1 | 500 | 500 | 0 | 0 | 0 | 1 | 500 | 500
|  |  | SUBTOTAL BUILDING ONLY COSTS |  |  | 6500 |  |  | 10500 |  |  | 6500
|  | 3. | EXCEPTION CONSTRUCTION COSTS
|  |  | Portable Classrooms |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Phasing Costs |  | 1% | 105 |  | 1% | 0 |  | 1% | 0
|  |  | Multiple Mobilizations | 1 | 100 | 100 | 1 | 100 | 100 | 1 | 100 | 100
|  |  | Road Improvements | 1 | 1000 | 1000 | 1 | 1000 | 1000 | 1 | 100 | 100
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL EXCEPTION CONSTRUCTION COSTS |  |  | 1205 |  |  | 1100 |  |  | 200
| TOTAL BUILDING AND SITE CONSTRUCTION COSTS |  |  |  |  | 11705 |  |  | 16600 |  |  | 9700
| B. | ADDITIONAL CONSTRUCTION COSTS
|  |  | Construction Management Fee |  | 1% | 117.05 |  | 1% | 166 |  | 1% | 97
|  |  | Construction Contingency | 1 | 100 | 100 | 1 | 100 | 100 | 1 | 100 | 100
|  |  | Design Contingency | 10 | 50 | 500 | 10 | 50 | 500 | 10 | 50 | 500
|  |  | Escalation to Midpoint | 5 | 10 | 50 | 5 | 10 | 50 | 5 | 10 | 50
|  |  | Portable Classrooms | 10 | 100 | 1000 | 10 | 100 | 1000 | 10 | 100 | 1000
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL ADDITIONAL CONSTRUCTION COSTS |  |  | 1767.05 |  |  | 1816 |  |  | 1747
TOTAL COST OF CONSTRUCTION | [5 empty] | 13472.05 |  |  | 18416 |  |  | 11447
II. TOTAL PROJECT COSTS
|  | TOTAL COST OF CONSTUCTION (Section I.) |  |  |  | 13472.05 |  |  | 18416 |  |  | 11447
| A. | COSTS OUTSIDE OF COST OF CONSTRUCTION
|  |  | Land Purchase |  |  | 0 |  |  | 0 |  |  | 0
|  |  | LEA Planning Costs |  | 0.1% | 13.472 |  | 0.1% | 18.416 |  | 0.1% | 11.447
|  |  | A/E Services |  | 1% | 134.7205 |  | 1% | 184.16 |  | 1% | 114.47
|  |  | Commissioning |  | 0.1% | 13.472 |  | 0.1% | 18.416 |  | 0.1% | 11.447
|  |  | Geotechnical Services |  | 0.1% | 13.472 |  | 0.1% | 18.416 |  | 0.1% | 11.447
|  |  | FF&E |  | 1% | 134.7205 |  | 1% | 184.16 |  | 1% | 114.47
|  |  | Portables | 10 | 100 | 1000 | 10 | 100 | 1000 | 10 | 100 | 1000
|  |  | Swing Space |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Transportation |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
| TOTAL COSTS OUTSIDE OF COST OF CONSTRUCTION |  |  |  |  | 1309.8571 |  |  | 1423.568 |  |  | 1263.281
TOTAL PROJECT COSTS (Section I and II) | [5 empty] | 14781.9071 |  |  | 19839.568 |  |  | 12710.281
III. ADDITIONAL INFORMATION
| A. | ESTIMATED PROJECT LIFE CYCLE COSTS
|  | 1. | Estimated Annual Energy Cost |  |  | 1000000 |  |  | 1000000 |  |  | 1000000
|  | 2. | Estimated Annual Maintenance Costs | 10000 | 5 | 50000 | 10000 | 5 | 50000 | 10000 | 5 | 50000
|  | 3. | Unique Annual Maintenance Costs per Option | 100 | 1 | 100 |  |  | 0 | 200 | 2 | 400
|  | 4. | Estimated One Time Operations Costs |  |  | 1000000 |  |  | 1000000 |  |  | 1000000
|  | 5. | Unique Operations Costs per Option |  |  | 500 |  |  | 1000 |  |  | 250
| ESTIMATED 30 YEAR LIFE CYCLE COSTS |  |  |  |  | 32503500 |  |  | 32501000 |  |  | 32512250
| B. | ADDITIONAL PROJECT INFORMATION
|  |  | Total Project Duration | 48 months |  |  | 48 months |  |  | 48 months
|  |  | Total Number of Phases | n/a |  |  | n/a |  |  | n/a
Other

## Blank Version
FEASIBILITY STUDY COST ESTIMATE GUIDE
The purpose of this file is to provide general guidance for the preparation of a Cost Estimate (which is to be submitted with a Feasibility Study) that allows for detailed comparison of the impacts of the options being considered. All items listed here are for the purposes of providing an example and the format and existing rows may be altered, removed, or added to in order to provide the most pertinent and useful information for analysis of the specific project at hand. IAC staff do not require that this form be used for the Cost Estimate that is submitted with a Feasibility Study.
|  |  |  | OPTION 1 |  |  | OPTION 2 |  |  | OPTION 3
|  |  |  | Renewal |  |  | Renovation/Addition |  |  | Replacement
|  |  |  | GSF/QTY | $/SF or % | TOTAL | GSF/QTY | $/SF or % | TOTAL | GSF/QTY | $/SF or % | TOTAL
I. TOTAL COST OF CONSTRUCTION
| A. | BUILDING AND SITE CONSTRUCTION COSTS
|  | 1. | BUILDING CONSTRUCTION COSTS
|  |  | New Construction/New Building |  |  | 0 |  |  | 0 |  |  | 0
|  |  | New Construction/Addition |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Renovation Type 1 |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Renovation Type 2 |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Demolition |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Selective Demolition |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Hazardous Material Abatement |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL BUILDING ONLY COSTS |  |  | 0 |  |  | 0 |  |  | 0
|  | 2. | SITE CONSTRUCTION COSTS
|  |  | Sitework, Typical |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Sitework, Exceptional Conditions (lf) |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Sitework, Exceptional Conditions (cy) |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL BUILDING ONLY COSTS |  |  | 0 |  |  | 0 |  |  | 0
|  | 3. | EXCEPTION CONSTRUCTION COSTS
|  |  | Portable Classrooms |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Phasing Costs |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Multiple Mobilizations |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Road Improvements |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL EXCEPTION CONSTRUCTION COSTS |  |  | 0 |  |  | 0 |  |  | 0
| TOTAL BUILDING AND SITE CONSTRUCTION COSTS |  |  |  |  | 0 |  |  | 0 |  |  | 0
| B. | ADDITIONAL CONSTRUCTION COSTS
|  |  | Construction Management Fee |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Construction Contingency |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Design Contingency |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Escalation to Midpoint |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Portable Classrooms |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
|  |  | SUBTOTAL ADDITIONAL CONSTRUCTION COSTS |  |  | 0 |  |  | 0 |  |  | 0
TOTAL COST OF CONSTRUCTION | [5 empty] | 0 |  |  | 0 |  |  | 0
II. TOTAL PROJECT COSTS
|  | TOTAL COST OF CONSTUCTION (Section I.) |  |  |  | 0 |  |  | 0 |  |  | 0
| A. | COSTS OUTSIDE OF COST OF CONSTRUCTION
|  |  | Land Purchase |  |  | 0 |  |  | 0 |  |  | 0
|  |  | LEA Planning Costs |  |  | 0 |  |  | 0 |  |  | 0
|  |  | A/E Services |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Commissioning |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Geotechnical Services |  |  | 0 |  |  | 0 |  |  | 0
|  |  | FF&E |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Portables |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Swing Space |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Transportation |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Other |  |  | 0 |  |  | 0 |  |  | 0
| TOTAL COSTS OUTSIDE OF COST OF CONSTRUCTION |  |  |  |  | 0 |  |  | 0 |  |  | 0
TOTAL PROJECT COSTS (Section I and II) | [5 empty] | 0 |  |  | 0 |  |  | 0
III. ADDITIONAL INFORMATION
| A. | ESTIMATED PROJECT LIFE CYCLE COSTS
|  | 1. | Estimated Annual Energy Cost |  |  | 0 |  |  | 0 |  |  | 0
|  | 2. | Estimated Annual Maintenance Costs |  |  | 0 |  |  | 0 |  |  | 0
|  | 3. | Unique Annual Maintenance Costs per Option |  |  | 0 |  |  | 0 |  |  | 0
|  | 4. | Estimated One Time Operations Costs |  |  | 0 |  |  | 0 |  |  | 0
|  | 5. | Unique Operations Costs per Option |  |  | 0 |  |  | 0 |  |  | 0
| ESTIMATED 30 YEAR LIFE CYCLE COSTS |  |  |  |  | 0 |  |  | 0 |  |  | 0
| B. | ADDITIONAL PROJECT INFORMATION
Total Project Duration
Total Number of Phases
Other